An Advanced Framework for the Integration and Analysis of Indirect Calorimetry Data

https://www.calopy.app

USER HOWTO

Version 1.0

May 6th 2025

# Table of Contents

Table of Contents	2

INTRODUCTION	3

Summary of Calopy Software	3

Summary of Calopy Data Types	3

Supported File Formats for Calopy	3

DATA PROCESSING	5

Preprocessing	5

Filtering	7

RMR/BMR Estimation	8

DATA ANALYSIS (with use cases)	10

Between Group Comparison	11

Dependent Variables	11

Predictive Variable	11

Additional Options for Between Group Comparison	11

Comparing EE between groups	12

Comparing continuous Metadata	15

Predicting Body Weight Gain through metabolic flexibility	16

Temporal Conditions	18

Dependent Variables	18

Conditional Variables	18

Time Window Comparison	20

Dependent Variables	20

Settings	20

REFERENCES	22

INTRODUCTION

## Summary of Calopy Software

Calopy is an open-source, web-based application for advanced analysis of indirect calorimetry (IC) data, developed using Shiny for Python. It is accessible both online and locally, offering a transparent and flexible platform for researchers.

Calopy integrates advanced preprocessing capabilities, including outlier detection, subject removal, and time-resolved filtering, allowing researchers to extract key metabolic features like maxima, minima, amplitude, and area under the curve (AUC). It also introduces an innovative estimation method for resting metabolic rate (RMR) and basal metabolic rate (BMR) using regression models that incorporate activity and food intake.

For data analysis, Calopy provides a comprehensive statistical toolbox, supporting tests on both raw data and derived features, with methods including Between-Group Comparison (BGP), Temporal-Condition Analysis, and Time-Window Comparison. All analyses are non-destructive, meaning data can be adjusted or reprocessed at any time.

With its intuitive interface, reproducible results, and open-source framework, Calopy enables researchers to perform, extend, and refine IC data analysis with ease, filling a crucial gap in the field.

Calopy is designed for an intuitive and exploratory analysis of Indirect Calorimetry (IC) data. The core of Calopy is based on its strict separation of data handling and data analysis.

## Summary of Calopy Data Types

Calopy handles two main data types: Metabolic Variables (MVs) and Metadata.

- Metabolic Variables (MVs) include time-series measurements such as VO₂, VCO₂, EE, and RER, as well as additional data like food intake, water intake, and activity. Calopy supports feature extraction, including mean, amplitude, area under the curve (AUC), and peak detection.

- Metadata provides contextual information about each subject and is divided into Phenotypic Variables (PVs) (e.g., body weight, age) and Conditional Variables (CVs) (e.g., genotype, treatment). Metadata can be stored within the main data file or uploaded separately.

Including body weight as metadata is strongly recommended for standardized analysis, and additional metadata can be manually added or imported within Calopy.

For additional documentation of our data formats and data types please check our APP documentation.

## Supported File Formats for Calopy

Currently Calopy Supports three main file formats (see Documentation for details)

- Generic, compatible with Sable Systems

- TSE PhenoMaster, supports various TSE output formats

##### Columbus Instruments

Generic CSV files (Sable Systems)

Allow flexible data structuring, supporting both metabolic data and metadata, with mandatory columns for Sample ID, Date/Time, and Metabolic Variables (e.g., VO₂, VCO₂, EE). Metadata can be included in the same file or separately. Our generic file format is fully compatible with Sable Systems File format.

##### TSE PhenoMaster

If you're working with TSE PhenoMaster files, just upload the raw, unmodified file—Calopy will handle the rest. These files should have a property section, a blank separator line, and a measurement table with consistent time points for accurate analysis.

##### Columbus Instruments

As CI's software CI-Link exports the data for each subject/cage in a single csv file, for now we support these data only through a small workaround: Save all single csv files and combine them in an excel file (xlsx) with one sheet for each cage. Name sheets as 'Cage1', 'Cage2', ...

This file can be now imported as Columbus Instruments data file. Remember to update your Metadata, by either creating a Metadata file or editing metadata directly. Metadata in the header of the CI exported files are automatically detected and included in the metadata.

NOTE: dependent on your CI Link version data may be exported normalized by mass. As we strongly recommend NOT normalizing your metabolic variables by mass, please check and eventually correct. We are currently working on an automated detection and correction method!

# DATA PROCESSING

## Preprocessing

Figure 1: Data Preprocessing

After the data upload you may want to preprocess your data (Figure 1).

- Metabolic Variable: Select Variable to be displayed

- grouping: If groups are defined in your dataset, you may select here for visualization.

- Add/edit Metadata: Opens a dialog where you can upload an additional Metadata file (See file Formats), or directly edit your metadata (Figure 2)

##### Data trimming:

  - Measurement start/end: Non-destructive setting of your data start and end time. All the changes     you make here define your Experimental start and end time. This is useful to only include full days for your analysis or remove acclimatization times at the beginning of your experiment.

  - dark/light phase: Select your dark /light phases, as indicated in the plot (grey = dark phase). These settings affect your analysis, once you select only dark/light phase for between analysis.

  - make samples all start the same day: If your experiment is conducted is multiple batches you can align them to the first day. (Use with care)

##### Options:

  - Exclude Samples: Remove individual subjects from your data analysis.

  - Plot x-labels for days: Plot Day-numbers instead of full date.

Figure 2: Upload and edit metadata dialog.

## Filtering

Figure 3: Data filtering.

Data filtering allows you to apply smoothing nonlinear filter to your data (curve fitting) or filter for outliers.

Curve fitting allows you to add additional data filters to your data. This may be for various purposes like data smoothing or feature extraction from denoised data.

Smoothing or denoising may be useful for cleaner data plotting and may be used to extract additional useful features (see feature extraction) from your data such as maxima of minima or amplitude.

##### Use filtering with care since this strongly affects your data and may lead to misinterpretations or erroneous results.

Outlier Removal: Select outlier removal based on x times of the standard deviation of your metabolic variable. This may be useful for very noisy data or e.g., food spilling animal samples.

Both: Curve fitting and Outlier removal can be individually applied to different metabolic variables.

## RMR/BMR Estimation

Figure 4: RMR estimation based on activity data.

Calopy has a unique feature implemented that allows for the estimation of Resting and Basic metabolic Rates (BMR/RMR), based on the work by Klinken et al. [1].

This feature estimates Resting Metabolic Rate (RMR) and Basic Metabolic Rate (BMR) to analyse energy expenditure. RMR represents energy use at rest, while BMR is the minimum energy required for essential physiological functions. The estimation is based on linear models that decompose total energy expenditure (TEE) into RMR, BMR, Activity-Related Energy Expenditure (AEE), and the Thermic Effect of Food (TEF). A full explanation of the mathematical background can be found at Klinken et al [1], or at the Calopy documentation.

Model Selection Guide

- RMR Model (Figure 4)
This model estimates energy expenditure by separating resting and activity-related energy.

Steps:

- Select your energy expenditure variable (e.g., kcal/h).

- Select your activity variable.

- Click Add/Update to calculate.

Outputs:

- Adds rmr_estimate (time-resolved) to metabolic variables.

- Adds beta_cca1 and RMR_intercept to metadata.

Figure 5: RMR/BMR estimation based on activity and food intake.

- BMR/RMR Model (Figure 5)
This model further separates out the thermic effect of food (TEF) using food intake data.

Steps:

- Select your energy expenditure variable (e.g., kcal/h).

- Select your activity variable (dimensionless).

- Select non-cumulative food intake variable.

- Click Add/Update to calculate.

Outputs:

- Adds rmr_estimate and bmr_estimate (time-resolved) to metabolic variables.

- Adds beta_cca2, beta_tef, RMR_intercept, and BMR_intercept to metadata.

These models help break down total energy expenditure into AEE (activity energy expenditure), RMR, BMR, and TEF.

Note: This method has limitations, such as reliance on linear regression and potential inaccuracies due to incomplete activity or food intake data. Use with care!

# DATA ANALYSIS (with use cases)

Currently Calopy enables exploratory analysis of Indirect Calorimetry (IC) data with three key methods:

- Between-Group Comparison – Analyzes differences in metabolic variables across groups using one- way or two-way ANOVA, ANCOVA (with covariates like body weight), and linear regression.

- Temporal Conditions (Within Groups) – Examines metabolic changes within a group over different time conditions, allowing for repeated measures ANOVA.

- Time Window Analysis – Segments data into consecutive or overlapping time windows, performing

ANOVA-based comparisons between groups.

Calopy provides customizable window sizes, flexible variable selection, and day/night phase analysis to enhance metabolic data interpretation.

Since Calopy is designed for exploratory and flexible data analysis, we will not offer a step-by-step guide for every scenario but instead provides key examples of common use cases to guide your analysis.

## Between Group Comparison

The between-group analysis tests various dependent variables across different conditions or treatments (i.e., conditional variables). Calopy's key strength lies in its flexibility to select and combine predictive and dependent variables:

#### Dependent Variables

##### Select metabolic variable

Select the Variable you want to test, you can choose from metabolic variables and continuous metadata.

##### Filter light/dark phase

Filter for values (and features) only of one phase, either light or dark. Only works with metabolic variables, not with metadata.

##### Select feature

Select a feature from your metabolic variable. These features strongly depend on the filtering applied during Data Processing. Use with care!

#### Predictive Variable

##### Select grouping/aggregation

Select the predictive grouping variable.

Note: For regression-based analysis like ANCOVA you must select Use linear model from the Options, See below.

#### Additional Options for Between Group Comparison

In addition to the upper example Calopy allows for further options when comparing group effects to continuous variables:

##### TWO-WAY ANOVA

In case your experiment contains two grouping variables e.g. Genotype & Diet you may want to perform a two-way ANOVA. Just select the Use two-way ANOVA tick-box and select your additional grouping variable.

##### Note:

- TWO-WAY ANOVA is NOT recommended for testing differences in EE since the use of two-categorical predictive variables and ANCOVA is currently not supported in Calopy

- TWO-WAY ANOVA and welch ANOVA cannot be combined

##### Compare light/dark

To test differences of your dependent variable between light and dark phase select Compare light/dark tick- box. This performs a 2way ANOVA including light/dark phases as additional predictive variable/factor. Can only be performed on Metabolic variables.

Note: To compare grouping effects only for dark or light phases, use the dark/light dropdown filter instead.

Use Linear models - Linear regression

Beside the previously described feature, Calopy offers the unique feature to perform linear regression on all kinds of continuous metadata or features extracted from metabolic variables.

Although technically speaking this does not refer to test for between groups comparison, we decided to keep this option here due underline the exploratory character of Calopy.

Since possibilities here are manifold, we here describe one exemplary use-case: Predicting Body Weight Gain through metabolic flexibility.

### Comparing EE between groups

Figure 6: Comparing EE between groups

To compare Energy Expenditure (EE) between groups (Mouse strains, diet, drug treatment...) we strongly recommend only using EE or heat production as measured as kcal/h and correct for body weight using ANCOVA.

In Calopy, after preprocessing (trimming, eventually sample removing) select Between-groups comparison. Select EE variable (here H(3), [kcal/h]) as dependent variable.

You may want to compare EE only for dark/light phase or total. select using light dark filter. As a feature we recommend selecting mean or median (global). Selectin mean or median in 24h split median may be an alternative here.

Select your grouping variable. Tick box: Use linear model and select body weight as covariable. In case your body weight is imported as a time resolved variable you should choose mean or median from the feature. In case BW is imported as metadata, the feature selection will have no effect.

Note: Also, lean mass may be a good choice as a covariable here [2].

ANCOVA now compares differences in EE between the two groups, by correcting for BW. Thus, your data needs to fulfil several assumptions:

- The dependent variable and covariate variables are measured on a continuous scale (at the interval or ratio level).

- The independent variable consists of two or more categorical, independent groups.

- There is independence of observations (there is no relationship between the observations in each group or between the groups themselves).

- There are no significant outliers or no points within data that do not follow the regular pattern.

- The dependent variable is approximately normally distributed within each subpopulation.

- There is homogeneity of variances (the variance of the dependent variable is equal over all subpopulations).

- The covariate is linearly related to the dependent variable at each level of the independent variable.

- There is homogeneity of regression slopes (there is no interaction between the independent variable and the covariate).

Once you have performed your experiment according to standard settings and your system is well calibrated and working correct assumptions 1-6 should be fulfilled.

Also, number 7 holds true to the current assumptions in the field.

Number 8 however is usually violated once the regression lines are not parallel. You test this in Calopy be selecting the tick-box ''test full model" to perform a linear regression including an intersection term (Figure 7). However, although in our model we did not see a significant interaction, we still doubt that the null hypothesis is true due to a lack of statistical power.

Figure 7: Testing independence for ANCOVA using a full model.

### Comparing continuous Metadata

Figure 8: Compare Body Weight between groups

Of course, you can also use Calopy to test your continuous metadata using ANOVA (Figure 8). In this example we choose BW as a continuous metadata variable and selected a grouping variable. Most of the other options are without effect here.

Note: You may want to select Welch ANOVA from the options which is the proper choice in case the homogeneity of variances assumption is not met, especially with unequal sample sizes.

### Predicting Body Weight Gain through metabolic flexibility:

Figure 9: Predicting Body Weight Gain through metabolic flexibility

Our example data experiment was conducted with 12 mice from two different strains (N=6 per Genotype) which were recorded in our IC system over three days using standard chow diet and subsequently kept over 12 weeks on a high fat died (HFD). Body weight was measured before IC measurement and after 12 weeks HFT.

- RER was filtered using a “generalized Additive Model” to extract denoised features such as minima and maxima.

- We here selected the weight gain (in %) as the dependent variable (Other settings to depend on variable are ignored here since we use a continuous metadata variable).

- We use a Linear model to perform regression analysis

- As predictive variable we choose RER and selected maximum (daysplit/median) feature.

- Regression residuals are also shown

Interpretation: From this setting we see a significant predictive potential of the maximal RER -- which can be interpreted as the ability to switch to Carbohydrate energy usage during active phase, thus an indicator for good metabolic flexibility -- to predict weight gain upon a high fat diet. The higher the amplitude, the less the gained weight.

Note: Although Calopy's ability to combine filtering and feature extraction with a flexible analysis toolbox enables various comparisons and tests, we strongly recommend that users carefully validate their settings, as improper configurations may lead to misleading or uninterpretable results.

## Temporal Conditions

With temporal conditions you can perform tests upon temporal changes during your experiment like changing cage temperature or food.

#### Dependent Variables

##### Select metabolic variable

Select the Variable you want to test, you can choose from metabolic variables and continuous metadata.

##### Select feature

Select a feature from your metabolic variable. These features strongly depend on the filtering applied during Data Processing. Use with care!

#### Conditional Variables

##### Select grouping/aggregation

Select the predictive grouping variable

##### Temporal Conditions

Edit Conditions button opens a dialog that allows you to create any number of temporal conditions.

Figure 10: Comparing VO2 to different temperature changes over time.

Our presented example here illustrates how you can compare changes over time by defining temporal conditions. Conditions can be defined and adjusted and adjusted to your experimental design. In this

experiment cage temperature was reduced from Thermoneutrality (30°C) to room temperature (23°C) to cold exposure (4°C), each for two days.

## Time Window Comparison

Time window comparison is a widely used way to compare your metabolic variables between groups using time windows.

#### Dependent Variables

##### Select metabolic variable

Select the Variable you want to test, you can choose from metabolic variables and continuous metadata.

#### Settings

##### Select grouping/aggregation

Select the predictive grouping variable to test the dependent variable for each window.

##### Window size

Adjust the window size in time sample steps for windows to compare.

##### Use overlapping windows

Allows for additional settings to adjust time samples between windows (overlapping windows)

Figure 11: Time window comparison

Time Window Analysis lets you select a depended metabolic variable, a grouping factor and a time window size, measured in sample rate. You may want to use overlapping or temporal offset windows which you may set when selecting use overlapping windows tick-box.

# REFERENCES

- Van Klinken JB, et al. Estimation of activity-related energy expenditure and resting metabolic rate in freely moving mice from indirect calorimetry data. PLoS One. 2012;7(5):e36162.

DOI: https://doi.org/10.1371/journal.pone.0036162

- Virtue, S., Lelliott, C.J. & Vidal-Puig, A. What is the most appropriate covariate in ANCOVA when analysing metabolic rate?. Nat Metab 3, 1585 (2021).

DOI: https://doi.org/10.1038/s42255-021-00505-5